## UE-FM-2930.2 Rev 0
HV Customer Document Submission Checklist - UE-FM-2930.2 - Rev 0
Project Title : |  | Project No. : |  |  |  | HV Feeder : |  | Checklist Last Updated
Customer : |  | Address: |  |  |  | PCC : |  | Date: | By:
Item | Description | Customer Reference Document No. | Preliminary |  | Certified Final |  | Customer Comment | UE Comment | Status (By UE )
|  |  | Submitted Yes/No | Date | Submitted Yes/No | Date
1 | Drawings
1.1 | Electrical single line diagram
1.2 | Overall protection, control, interlocking, trip circuit power supply scheme diagrams
1.3 | General arrangement of HV plant & equipment
1.4 | Electrical schematic diagram of protection, control, interlocking and alarm scheme inclusive of Trip circuit power supply ( i.e. DC supply system). Manufacturers Drawings.
1.5 | Earthing system arrangement and layout
2 | Technical reports & system studies
2.1 | Protection coordination study including but not limited to: • Detail functional description and control scheme/philosophy • Main HV incomer CB protection relays settings • Coordination and grading graphs with upstream UE protection • Monitoring schemes for tripping supply system and other critical assets (main HV incomer CB status, UPS status etc...)
2.2 | Earthing system design report inclusive of assessment in terms of step and touch potentials etc.( as per guidlines in AS 2067 )
2.3 | Power quality study (where requested)
3 | Procedures, plans & schedule
3.1 | Project Schedule (where requested)
3.2 | Installation and commissioning test plan (ITP)
3.3 | HV Safety Procedure
3.4 | Operations Procedure
3.5 | Maintenance Procedure
4 | Installation and commissioning test reports
4.1 | Primary Testing as listed in the UE-FM-2930.4 HV Customer Connection Application Form.
4.2 | Secondary Asset Testing as listed in the UE-FM-2930.4 HV Customer Connection Application Form.
4.3 | Function Testing.
4.4 | Earth grid installation and testing report. (Inclusive of touch, step voltage test)
5 | Certification
5.1 | Metering CT test certificate ( NATA certification)
5.2 | Metering VT test certificate ( NATA certification)
5.3 | Prescribed CES
5.4 | HV metering field setup report issued by metering provider
5.5 | HV Clearance
6 | Miscellaneous
6.1 | HV connection agreement
6.2 | HV Supply Contract.
6.3 | HV reserve capacity agreement (if applicable)
6.4 | Site authorised HV officers/operators and HV contact details (24/7 access)